## Slide 1: SMART INDIA HACKATHON 2024
Problem Statement ID- 1582
Problem Statement Title- System to check the healthiness of earthing system and alert staff in case of any malfunction.
Theme- Miscellaneous
PS Category- Hardware
Team ID-
Team Name – FLUX
my

## Slide 2: IDEA /APPROACH DETAILS
FLUX
SOLUTION
Our earthing health monitoring solution designs a device and a software which provides comprehensive oversight through three key functionalities:
1)Real-time Earthing Voltage Monitoring: Continuously measures voltage levels to ensure optimal earthing performance.
2)Earth Leakage Current Tracking: Detects and monitors abnormal leakage currents to identify potential hazards.
3) Fault Prediction: Utilizes advanced algorithms to anticipate potential earthing failures, enabling proactive maintenance.
INNOVATION
We have designed a device to check and maintain healthiness of earthing system.
The device has following functions:
Fault Prediction Model
Compact Device
Cost-effective
Real time Access
Centralized platform
User-friendly software

## Slide 3: TECHNICAL APPROACH
FLUX
HARDWARE COMPONENTS:
ESP32 or ESP8266
ACS712 (current sensor)
ZMPT101B (voltage sensor)
SRD-5VDC-SL-C (Relay)
METHODOLGY/FLOWCHART
TECHNOLOGY STACK:

## Slide 4: FEASIBILITY AND VIABILITY
FLUX
FEASIBILTY
POTENTIAL CHALLENGES AND RISKS
STRATEGIES TO OVERCOME THE CHALLENGES
Potential for False Alarms
Lack of Robustness
Inaccurate measurements from faulty sensors
Scalability Issues
Maintenance Overhead
Use more robust and accurate sensors with built-in filtering and compensation.
Implement redundancy and fail-safe mechanisms to ensure continuous monitoring.
Develop advanced algorithms to predict faults with higher accuracy and fewer false alarms.
Provide a scalable architecture that can be easily deployed and managed across multiple sites.
Incorporate self-diagnostic features and remote maintenance capabilities to reduce overhead.
User-friendly Interface
Real-time access
Centralized Platform
Cost-effective

## Slide 5: IMPACT AND BENEFITS
FLUX
POTENTIAL IMPACT AND BENEFITS ON TARGET AUDIENCE:
Reduced risk of electrical accidents: By detecting and alerting to potential hazards like earth leakage currents, the system helps prevent accidents and injuries
Reduced Power Outages: Improved earthing performance led to a substantial reduction in power surges and voltage fluctuations, minimizing equipment damage and downtime.
Minimized equipment replacement: Early detection of faults can prevent catastrophic failures that may damage valuable equipment and require costly equipment replacements.
Cost Savings: By preventing equipment failures and reducing downtime, the facility realized significant cost savings.
Compliance with Regulations: The system ensured compliance with industry standards and regulations related to earthing systems.

## Slide 6: RESEARCH AND REFERENCES
Details / Links of the reference and research work
FLUX