## Slide 1: SMART INDIA HACKATHON 2024
Problem Statement ID – 1582
Problem Statement Title- System to check the healthiness of earthing system and alert staff in case of any malfunction.
Theme- Miscellaneous
PS Category- Hardware
Team ID-
Team Name - FLUX

## Slide 2: IDEA
Proposed Solution
FLUX
Explanation of the proposed solution
Our earthing health monitoring solution designs a device and a software which provides comprehensive oversight through three key functionalities:
1)Real-time Earthing Voltage Monitoring: Continuously measures voltage levels to ensure optimal earthing performance.
2)Earth Leakage Current Tracking: Detects and monitors abnormal leakage currents to identify potential hazards.
3) Fault Prediction: Utilizes advanced algorithms to anticipate potential earthing failures, enabling proactive maintenance.
Innovation and uniqueness of the solution We have designed a device to check and maintain healthiness of earthing system.
The device has following functions:
Fault Prediction Model
Compact Device
Automation
Cost-effective
Real time Access
Centralized platform
User-friendly software

## Slide 3: TECHNICAL APPROACH
Technologies to be used
1)Software
2)Hardware
ESP32 or ESP8266
ACS712 (current sensor)
ZMPT101B (voltage sensor)
SRD-5VDC-SL-C (Relay)
FLUX
Methodology and process for implementation

## Slide 4: FEASIBILITY AND VIABILITY
Feasibility of the idea
User-friendly Interface
Real-time access
Centralized Platform
Cost-effective
FLUX
Potential challenges and risks
Potential for False Alarms
Lack of Robustness
Inaccurate measurements from faulty sensors
Scalability Issues
Maintenance Overhead
Strategies for overcoming these challenges
Use more robust and accurate sensors with built-in filtering and compensation.
Implement redundancy and fail-safe mechanisms to ensure continuous monitoring.
Develop advanced algorithms to predict faults with higher accuracy and fewer false alarms.
Provide a scalable architecture that can be easily deployed and managed across multiple sites.
Incorporate self-diagnostic features and remote maintenance capabilities to reduce overhead.

## Slide 5: IMPACT AND BENEFITS
Potential impact on the target audience Benefits of the solution
Reduced risk of electrical accidents: By detecting and alerting to potential hazards like earth leakage currents, the system helps prevent accidents and injuries
Reduced Power Outages: Improved earthing performance led to a substantial reduction in power surges and voltage fluctuations, minimizing equipment damage and downtime.
Minimized equipment replacement: Early detection of faults can prevent catastrophic failures that may damage valuable equipment and require costly equipment replacements.
Cost Savings: By preventing equipment failures and reducing downtime, the facility realized significant cost savings.
Compliance with Regulations: The system ensured compliance with industry standards and regulations related to earthing systems.
FLUX

## Slide 6: RESEARCH AND REFERENCES
Research work
[1] R. K. Kodali and A. Sahu, “An IoT based weather information prototype using wemos,” in 2016 2nd
International Conference on Contemporary Computing and Informatics (IC3I). IEEE, 2016, pp. 612–616.
[2] Y. Yang, T. Lee, Y. Lee, J. Choi, E. Park, and H. Lim, “Implementation of infants risk detection sensing system
using IoT,” in AIP Conference Proceedings, vol. 1836, no. 1. AIP Publishing, 2017, p. 020073.
[3] A. K. S. Dwarka Prasad and H. Sharma, “Electric shock and human body,” International Journal of Electrical
and Power Engineering, vol. 4, no. 3, pp. 177–181, 2010.
[4] Sutanto, Erwin, et al. "IoT based electricity leakage current monitoring using Blynk app." AIP Conference Proceedings. Vol. 2314. No. 1. AIP Publishing, 2020.
FLUX